## tRESP Building Blocks
Demand/ Generation/ Storage | Technology | FES BB ID Number | Technology Detail | Units
Demand | Electric Vehicles | Lct_BB001 | Pure Electric (Vans, Cars & Motorbikes) | Number
Demand | Electric Vehicles | Lct_BB002 | Plug-in-hybrid (Vans, Cars and Motorbikes) | Number
Demand | Electric Vehicles | Lct_BB003 | Pure Electric (Buses, Coaches and HGVs) | Number
Demand | Electric Vehicles | Lct_BB004 | Plug-in-hybrid (Buses, Coaches and HGVs) | Number
Demand | Heat Pumps | Lct_BB005 | Domestic - Non-hybrid | Number
Demand | Heat Pumps | Lct_BB006 | Domestic – Hybrid | Number
Demand | Heat Pumps | Dem_BB005_1 | Industrial & Commercial Heat Pumps excl. processes (incl. Hybrid) | Annual Demand (GWh)
Demand | Heat Pumps | Dem_BB005_2 | Industrial & Commercial Heat Pumps excl. processes (incl. Hybrid) | Surface Area
Demand | District Heating | Lct_BB009 | Domestic customers on Heat Pump-Supplied Networks | Number
Demand | Airconditioning Units | Lct_BB014 | AC Domestic Units | Number
Demand | Airconditioning Units | Lct_BB015_1 | AC Industrial & Commercial Units | Annual Demand (GWh)
Demand | Airconditioning Units | Lct_BB015_2 | AC Industrial & Commercial Units | Surface Area
Storage | Storage | Srg_BB001 | Batteries (Non-domestic) | Capacity Installed (MW)
Storage | Storage | Srg_BB002 | Domestic Batteries (G98) | Capacity Installed (MW)
Storage | Storage | Srg_BB003 | Pumped Hydro | Capacity Installed (MW)
Storage | Storage | Srg_BB004 | Other | Capacity Installed (MW)
Storage | Storage | Srg_BB005 | Vehicle-to-Grid | Capacity Installed (MW)
Generation | Non-renewable CHP | Gen_BB001 | >=1MW | Capacity Installed (MW)
Generation | Non-renewable CHP | Gen_BB002 | <1MW | Capacity Installed (MW)
Generation | Micro CHP | Gen_BB003 | Domestic (G98/G83) including Gas | Capacity Installed (MW)
Generation | Renewable Engines | Gen_BB004 | Landfill Gas, Sewage Gas, Biogas | Capacity Installed (MW)
Generation | Non-renewable Engines (Diesel) (non CHP) | Gen_BB005 |  | Capacity Installed (MW)
Generation | Non-renewable Engines (Gas) (non CHP) | Gen_BB006 |  | Capacity Installed (MW)
Generation | Fuel Cells | Gen_BB007 |  | Capacity Installed (MW)
Generation | Open-Cycle Gas Turbines (OCGTs) (non CHP) | Gen_BB008 |  | Capacity Installed (MW)
Generation | Close-Cycle Gas Turbines (CCGTs) (non CHP) | Gen_BB009 |  | Capacity Installed (MW)
Generation | Biomass & Energy Crops (including CHP) | Gen_BB010 | Includes Biomass Conversions | Capacity Installed (MW)
Generation | Waste Incineration (including CHP) | Gen_BB011 |  | Capacity Installed (MW)
Generation | Solar Generation | Gen_BB012 | Large (G99) >=10 kW | Capacity Installed (MW)
Generation | Solar Generation | Gen_BB013 | Small (G98/G83) <10 kW | Capacity Installed (MW)
Generation | Wind | Gen_BB015 | Onshore Wind >=1 MW | Capacity Installed (MW)
Generation | Wind | Gen_BB016 | Onshore Wind <1 MW | Capacity Installed (MW)
Generation | Hydro | Gen_BB018 | Not pumped hydro | Capacity Installed (MW)
Generation | Geothermal | Gen_BB019 |  | Capacity Installed (MW)
Generation | Hydrogen | Gen_BB023 | Hydrogen | Capacity Installed (MW)

## tRESP GSP Areas with Names
tresp_gsp_area | tresp_gsp_area_name
_L@ABHA1 | tRESP Abham 132kV NGED
_C@ACTL_C | tRESP Acton Lane 22kV UKPN
_L@ALVE1 | tRESP Alverdiscott 132kV NGED
_H@LOUD_H | tRESP Amersham SSEN
_A@AMEM_1 | tRESP Amersham UKPN
_L@AXMI1 | tRESP Axminster 132kV NGED
_H@AXMI_H | tRESP Axminster SSEN
_A@BARKR_A | tRESP Barking 132kV EASTERN UKPN
_C@BARKR_C | tRESP Barking 132kV LONDON UKPN
_C@BARKW3 | tRESP Barking West 33kV LONDON UKPN
_A@BARKW3 | tRESP Barking West EASTERN UKPN
SSEN_group_Beauly | tRESP Beauly Group SSEN
BEDDT_HURS_LPN | tRESP Beddington 132kV Hurst 132kV LONDON UKPN
_J@BEDD_1 | tRESP Beddington SOUTHEASTERN UKPN
_B@BESW_1 | tRESP Berkswell 132kV NGED
_B@BICF_1 | tRESP Bicker Fen 132kV NGED
_D@BIRK_1 | tRESP Birkenhead SPEN
_K@BISW_1 | tRESP Bishops Wood 132kV SOUTHWALES NGED
_E@BISW_1 | tRESP Bishops Wood 132kV WESTMIDLANDS NGED
_F@BLYTH132 | tRESP Blyth 132kV NPg
_F@BLYTB1 | tRESP Blyth 66kV NPg
Bold_in_G@RAIN_1 | tRESP Bold ENWL
_J@BOLN_1 | tRESP Bolney UKPN
SPEN_group_BONNYBRIDGE | tRESP Bonnybridge Group SPEN
SPEN_group_BORDERS | tRESP Borders Group SPEN
_H@BOTW_1 | tRESP Botley Wood SSEN
_M@BRAW_1 | tRESP Bradford West NPg
SPEN_group_BRAEHEAD | tRESP Braehead Group SPEN
BRAI_RAYL_EPN | tRESP Braintree Rayleigh UKPN
_A@BRFO_1¦CLT03 | tRESP Bramford UKPN
SSEN_Bramley_AMES_THAT | tRESP Bramley Amesthat SSEN
BASI_in_H@BRLE_1¦FLEE_1 | tRESP Bramley Basi SSEN
FLEE_in_H@BRLE_1¦FLEE_1 | tRESP Bramley Fleet SSEN
_G@BRED_1 | tRESP Bredbury ENWL
_L@BRWA1 | tRESP Bridgwater 132kV NGED
_A@BRIM_1 | tRESP Brimsdown EASTERN UKPN
_C@BRIM_1 | tRESP Brimsdown LONDON UKPN
_A@BURM_1 | tRESP Burwell UKPN
_E@BUSH_1 | tRESP Bushbury 132kV NGED
_E@BUST_1 | tRESP Bustleholm 132kV NGED
_M@CAMB_01 | tRESP Camblesforth NPg
_J@CANTN1 | tRESP Canterbury UKPN
_D@CAPEA1 | tRESP Capenhurst SPEN
CARE_ABTH_NGED | tRESP Cardiff East Aberthaw NGED
_G@CARR_1 | tRESP Carrington ENWL
_D@FIDF_1 | tRESP Carrington Fiddlers Ferry SPEN
_E@CELL_1 | tRESP Cellarhead 132kV NGED
_D@CELL_1 | tRESP Cellarhead SPEN
CHESSINGTON_UKPN_LPN | tRESP Chessington UKPN
_B@CHTE_1 | tRESP Chesterfield 132kV NGED
_H@CHIC_1 | tRESP Chickerell SSEN
_C@CITR_1 | tRESP City Road 132kV UKPN
SPEN_group_CLYDES_MILL | tRESP Clydes Mill Group SPEN
CONQA_SASA_PENT_SPM | tRESP Connahs Quay Pentir St Asaph SPEN
_B@COVE_1 | tRESP Coventry 132kV NGED
_H@COWL_1 | tRESP Cowley SSEN
_M@CREB_1 | tRESP Creyke Beck NPg
SPEN_group_CURRIE | tRESP Currie Group SPEN
SPEN_group_DEVOL_MOOR | tRESP Devol Moor Group SPEN
_B@DRAK_1 | tRESP Drakelow B 132kV NGED
_M@DRAX_1 | tRESP Drax NPg
_H@EALI_6 | tRESP Ealing SSEN
_B@ECLA_1 | tRESP East Claydon 132kV EASTMIDLANDS NGED
_E@ECLA_1 | tRESP East Claydon 132kV WESTMIDLANDS NGED
_H@ECLA_H | tRESP East Claydon SSEN
_A@EASO_1 | tRESP Eaton Socon UKPN
_M@ELLA_1 | tRESP Elland NPg
ELST_WATFS_EPN | tRESP Elstree Watford South UKPN
_B@ENDE_1 | tRESP Enderby 132kV NGED
SSEN_group_Errochty | tRESP Errochty Group SSEN
_L@EXET1 | tRESP Exeter 132kV NGED
_H@FAWL_1 | tRESP Fawley SSEN
_E@FECK_6 | tRESP Feckenham 66kV NGED
_M@FERRA2 | tRESP Ferrybridge A NPg
_M@FERRB_M | tRESP Ferrybridge B NPg
SSEN_group_Fort Augustus | tRESP Fort Augustus Group SSEN
_F@FOUR_1 | tRESP Fourstones NPg
_D@FROD_1 | tRESP Frodsham Ince SPEN
SPEN_group_GALLOWAY | tRESP Galloway Group SPEN
_B@GREN_1 | tRESP Grendon 132kV NGED
_A@GREN_1 | tRESP Grendon 132kV UKPN
_M@GRIW_1 | tRESP Grimsby West NPg
_C@HACK_1 | tRESP Hackney 132kV UKPN
_C@HACK_6 | tRESP Hackney Supergrid 66kV UKPN
HARKER_HUTTON_ENWL | tRESP Harker Hutton ENWL
_F@HARK_1¦RRIG | tRESP Harker NPg
_F@HARM_6 | tRESP Hartmoor NPg
_F@HAWP_6 | tRESP Hawthorn Pit Grid NPg
_G@HEYS_1¦HEYS1¦ORMO | tRESP Heysham ENWL
SPEN_group_HUNTERSTON | tRESP Hunterston Group SPEN
_L@INDQ1 | tRESP Indian Queens 132kV NGED
SSEN_group_Inverarnan | tRESP Inverarnan Group SSEN
SSEN_group_Inverness | tRESP Inverness Group SSEN
_E@IROA1 | tRESP Iron Acton 132kV NGED
_L@IROA1 | tRESP Iron Acton 132kV NGED
SHRW_IRONB_NGED | tRESP Ironbridge Shrewsburry 132kV NGED
_C@ISLI_1 | tRESP Islington 132kV UKPN
IVER_132KV_in_H@IVER_1¦IVER_6 | tRESP Iver 132kV SSEN
IVER_66KV_in_H@IVER_1¦IVER_6 | tRESP Iver 66kV SSEN
_M@JORD_3 | tRESP Jordanthorpe NPg
SPEN_group_KAIMES_275kV | tRESP Kaimes Group SPEN
_M@KEAD_1 | tRESP Keadby NPg
_G@KEAR_1 | tRESP Kearsley 132kV ENWL
_G@KEAR_3 | tRESP Kearsley Local 33kV ENWL
SSEN_group_Keith | tRESP Keith Group SSEN
_J@KEMS_1 | tRESP Kemsley UKPN
SPEN_group_KILMARNOCK_S | tRESP Kilmarnock S Group SPEN
_J@KINO_1 | tRESP Kingsnorth UKPN
SSEN_group_Kintore | tRESP Kintore Group SSEN
_D@KIBY_1 | tRESP Kirkby SPEN
_M@KIRKB1 | tRESP Kirkstall B NPg
_E@KITW_1 | tRESP Kitwell 132kV NGED
_F@KNAR | tRESP Knaresborough NPg
_F@LACK_6 | tRESP Lackenby NPg
_H@LALE1SG003 | tRESP Laleham SSEN
LALEHAM_UKPN_LPN | tRESP Laleham UKPN
SPEN_group_LAMBHILL_275kV | tRESP Lamnhill Group SPEN
_L@LAND1 | tRESP Landulph 132kV NGED
_B@HAMHC1 | tRESP Lea Marston 132kV EASTMIDLANDS NGED
_E@HAMHC1 | tRESP Lea Marston 132kV WESTMIDLANDS NGED
_D@LEGA_1 | tRESP Legacy SPEN
_D@LISD_1 | tRESP Lister Drive SPEN
_C@LITT_C | tRESP Littlebrook LONDON UKPN
_J@LITT_J | tRESP Littlebrook SOUTHEASTERN UKPN
_C@LODR_6 | tRESP Lodge Road 66kV UKPN
_H@LOVE_1 | tRESP Lovedean SSEN
_G@MACC_3 | tRESP Macclesfield 33kV ENWL
_H@MANN_1 | tRESP Mannington SSEN
_K@MAGA_6 | tRESP Margam Grange NGED
_L@MELK_1 | tRESP Melksham 132kV NGED
SSEN_Melksham | tRESP Melksham SSEN
_A@MILH_1 | tRESP Mill Hill And Hendon UKPN
_H@MITY_1 | tRESP Minety SSEN
SPEN_group_MOSSMORRAN | tRESP Mossmorran Group SPEN
SSEN_group_Mybster | tRESP Mybster Group SSEN
_E@NECE_1 | tRESP Nechells 132kV NGED
_M@NEEP_3 | tRESP Neepsend NPg
SPEN_group_NEILSTON | tRESP Neilston Group SPEN
NEWX_132kV_AND_WIMBN_LPN | tRESP New Cross 132kV UKPN
New_Cross_66kV_in_C@NEWX_6 | tRESP New Cross 66kV UKPN
_J@NINF_1 | tRESP Ninfield UKPN
_H@NHYD_6 | tRESP North Hyde SSEN
_J@NFLE | tRESP Northfleet UKPN
_M@NORL_3 | tRESP Norton Lees NPg
_F@NORT_1 | tRESP Norton NPg
_A@NORM_1¦SALL1 | tRESP Norwich UKPN
_H@NURS_1 | tRESP Nursling SSEN
_E@OCKH_1 | tRESP Ocker Hill 132kV NGED
_F@OFFE_3 | tRESP Offerton NPg
_E@OLDB_1 | tRESP Oldbury 132kV NGED
_F@OSBA_1 | tRESP Osbaldwick NPg
SSEN_group_Outer_Hebrides_and_Skye | tRESP Outer Hebrides and Skye Group SSEN
_G@PADIB1 | tRESP PadihamkV ENWL
PELH_WYMOM_EPN | tRESP Pelham Wymondley UKPN
_K@PEMB_1 | tRESP Pembroke NGED
_E@PENN_1 | tRESP Penn 132kV NGED
_G@PENE_1 | tRESP Penwortham East Rochdale 1 Group ENWL
_G@PENW_1¦STAH_1¦WABO | tRESP Penwortham West Stanah Group ENWL
SSEN_group_Persley | tRESP Persley Group SSEN
SSEN_group_Peterhead | tRESP Peterhead Group SSEN
_M@PITS_3 | tRESP Pitsmoor 3/4 NPg
_F@POPP_3 | tRESP Poppleton NPg
SSEN_group_Port Ann | tRESP Port Ann Group SSEN
_E@WALH_1 | tRESP Port Ham 132kV NGED
_K@PYLE_1 | tRESP Pyle NGED
_D@RAIN_1 | tRESP Rainhill SPEN
_K@RASS_1 | tRESP Rassau NGED
_B@RATS_1 | tRESP Ratcliffe 132kV NGED
_C@REBR_3 | tRESP Redbridge Supergrid 33kV UKPN
SELL_RICH_SPN | tRESP Richborough UKPN
Risley_in_G@RAIN_1 | tRESP Risley ENWL
_G@ROCH_1 | tRESP Rochdale Sgts 2 3 4 ENWL
_E@RUGEB1 | tRESP Rugeley 132kV NGED
_A@RYEH_1 | tRESP Rye House UKPN
_M@SALT_1 | tRESP Saltend North NPg
_F@SALH_1 | tRESP Saltholme NPg
_L@SEAB1¦SAFO_1 | tRESP Sandford 132kV NGED
_M@SHEC_3 | tRESP Sheffield City NPg
SSEN_group_Shetland | tRESP Shetland Group SSEN
SPEN_group_SIGHTHILL_275kV | tRESP Sighthill Group SPEN
_M@SKLGB1 | tRESP Skelton Grange NPg
SPEN_group_SMEATON_275 | tRESP Smeaton Group SPEN
_G@SMAN_1 | tRESP South Manchester ENWL
_F@SSHI_3 | tRESP South Shields NPg
_F@SPEN_1 | tRESP Spennymoor NPg
_C@SJOW_1 | tRESP St Johns Wood 132kV UKPN
_G@STAL_1 | tRESP Stalybridge ENWL
_B@STAY_1 | tRESP Staythorpe 132kV NGED
_F@STEN_1 | tRESP Stella North NPg
_F@STES_1 | tRESP Stella South NPg
_B@SBAR | tRESP Stoke Bardolph 132kV NGED
_A@SUND_1 | tRESP Sundon UKPN
_K@SWAN_1 | tRESP Swansea North NGED
_D@SWAN_1 | tRESP Swansea North SPEN
_L@TAUN1 | tRESP Taunton 132kV NGED
SSEN_group_Taynuilt | tRESP Taynuilt Group SSEN
SSEN_group_Tealing | tRESP Tealing Group SSEN
_M@TEMP_3 | tRESP Templeborough 275/33kV NPg
_M@THUR_6 | tRESP Thurcroft NPg
SSEN_group_Thurso_South | tRESP Thurso South Group SSEN
_A@TILBB_1 | tRESP Tilbury UKPN
SPEN_group_TORNESS | tRESP Torness Group SPEN
_A@TOTT_1 | tRESP Tottenham UKPN
_D@TRAW_1 | tRESP Trawsfynydd SPEN
_F@TYNE_1¦TYNE_2 | tRESP Tynemouth NPg
_K@UPPB_1¦UPPB_3 | tRESP Upper Boat 132 & 33 NGED
USKM_ALST_IMPK | tRESP Uskmouth NGED
_B@WALP_B | tRESP Walpole 132kV NGED
_A@WALP_1 | tRESP Walpole UKPN
_A@WARL_1 | tRESP Warley UKPN
_G@KIBY_G¦WASF_1 | tRESP Washway Farm Kirkby Group ENWL
_F@WBOL_6 | tRESP West Boldon NPg
_B@WBUR_1 | tRESP West Burton 132kV NGED
_C@WHAM_1 | tRESP West Ham 132kV UKPN
_M@WMEL_1 | tRESP West Melton Section 3 NPg
_M@THOM_6 | tRESP West Melton Thorpe Marsh NPg
_A@WTHU31 | tRESP West Thurrock UKPN
_J@WWEY_1 | tRESP West Weybridge UKPN
SPEN_group_WESTFIELD | tRESP Westfield Group SPEN
_G@WHGA_1 | tRESP Whitegate ENWL
_E@WIEN_1 | tRESP Willenhall 132kV NGED
_C@WISD_1 | tRESP Willesden LONDON UKPN
_C@WISD_6 | tRESP Willesden Grid 66kV UKPN
_H@ACTL_2¦CBNK_H¦GREE_H¦PERI_H¦WESA_H | tRESP Willesden SSEN
_A@WISD_1 | tRESP Willesden EASTERN UKPN
_B@WILL_1 | tRESP Willington 132kV NGED
_C@WIMBS1 | tRESP Wimbledon Grid South 3/4 UKPN
_M@WIBA_3 | tRESP Wincobank NPg
SPEN_group_WINDYHILL | tRESP Windyhill Group SPEN
SPEN_group_WISHAW_275 | tRESP Wishaw Group SPEN
_D@WYLF_1 | tRESP Wylfa SPEN

## tRESP BB list - old (hidden)
tRESP Pathways Building Blocks
Back to cover
Use case | Demand/ Generation/ Storage | Technology | FES BB ID Number | Technology Detail | Units | FES Coverage (yes/no/partial)
Pathways | Demand | Electric Vehicles | Lct_BB001 | Pure Electric (vans, cars & motorbikes) | Number | Y - GSP
Pathways | Demand | Electric Vehicles | Lct_BB002 | Plug-in-hybrid (vans, cars and motorbikes) | Number | Y – GSP
Pathways | Demand | Electric Vehicles | Lct_BB003 | Pure Electric (buses, coaches and HGV) | Number | Y - GSP
Pathways | Demand | Electric Vehicles | Lct_BB004 | Plug-in-hybrid (buses, coaches and HGVs) | Number | Y – GSP
Pathways | Demand | Heat Pumps | Lct_BB005 | Domestic - Non-hybrid | Number | Y – GSP
Pathways | Demand | Heat Pumps | Lct_BB006 | Domestic – Hybrid | Number | Y – GSP
Pathways | Demand | Heat Pumps | Dem_BB005_1 | Industrial & Commercial Heat Pumps (incl. hybrid) | Annual demand (GWh) | Y – GSP
Pathways | Demand | Heat Pumps | Dem_BB005_2 | Industrial & Commercial Heat Pumps (incl. hybrid) | Surface area | Y – GSP
Pathways | Demand | District Heating | Lct_BB009 | Domestic customers on HP-supplied networks | Number | Y – GSP
Pathways | Demand | Airconditioning units | Lct_BB014 | Airconditioning Domestic units | Number | P – National level GWh
Pathways | Demand | Airconditioning units | Lct_BB015 | Airconditioning Industrial & Commercial units | Annual demand (GWh) | N
Pathways | Storage | Storage | Srg_BB001 | Batteries (Non-domestic) | Capacity installed (MW) | Y – GSP
Pathways | Storage | Storage | Srg_BB001_1 | Batteries >=200 kW | Capacity installed (MW)
Pathways | Storage | Storage | Srg_BB001_2 | Batteries >=1 MW and <5 MW | Capacity installed (MW)
Pathways | Storage | Storage | Srg_BB001_3 | Batteries >=5 MW | Capacity installed (MW)
Pathways | Storage | Storage | Srg_BB002 | Domestic Batteries (G98) | Capacity installed (MW) | P - Capacity installed by GSP
Pathways | Storage | Storage | Srg_BB003 | Pumped Hydro | Capacity installed (MW) | Y – GSP
Pathways | Storage | Storage | Srg_BB004 | Other | Capacity installed (MW) | Y – GSP
Pathways | Storage | Storage | Srg_BB005 | Vehicle-to-Grid | Capacity installed (MW) | P - MW availability by GSP
Pathways | Generation | Non-renewable CHP | Gen_BB001 | >=1MW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Non-renewable CHP | Gen_BB002 | <1MW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Micro CHP | Gen_BB003 | Domestic (G98/G83) including gas | Capacity installed (MW) | Y – GSP
Pathways | Generation | Renewable Engines (Landfill Gas, Sewage Gas, Biogas) | Gen_BB004 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Non-renewable Engines (Diesel) (non CHP) | Gen_BB005 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Non-renewable Engines (Gas) (non CHP) | Gen_BB006 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Fuel Cells | Gen_BB007 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | OCGTs (non CHP) | Gen_BB008 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | CCGTs (non CHP) | Gen_BB009 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Biomass & Energy Crops (including CHP) | Gen_BB010 | Includes Biomass Conversions | Capacity installed (MW) | Y – GSP
Pathways | Generation | Waste Incineration (including CHP) | Gen_BB011 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Solar Generation | Gen_BB012 | Large (G99) >=10 kW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Solar Generation | Gen_BB012_1 | Large (G99) >=200 kW | Capacity installed (MW) | N
Pathways | Generation | Solar Generation | Gen_BB012_2 | Large (G99) >=1 MW and <5 MW | Capacity installed (MW) | N
Pathways | Generation | Solar Generation | Gen_BB012_3 | Large (G99) >=5 MW | Capacity installed (MW) | N
Pathways | Generation | Solar Generation | Gen_BB013 | Small (G98/G83) <10 kW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Wind | Gen_BB015 | Onshore Wind >=1 MW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Wind | Gen_BB015_1 | Onshore Wind >=1 MW and < 5 MW | Capacity installed (MW) | N
Pathways | Generation | Wind | Gen_BB015_2 | Onshore Wind >=5 MW | Capacity installed (MW) | N
Pathways | Generation | Wind | Gen_BB016 | Onshore Wind <1 MW | Capacity installed (MW) | Y – GSP
Pathways | Generation | Wind | Gen_BB016_1 | Onshore Wind >=200 kW and <1 MW | Capacity installed (MW) | N
Pathways | Generation | Hydro | Gen_BB018 | Not pumped hydro | Capacity installed (MW) | Y – GSP
Pathways | Generation | Geothermal | Gen_BB019 |  | Capacity installed (MW) | Y – GSP
Pathways | Generation | Hydrogen | Gen_BB023 | Hydrogen | Capacity installed (MW) | Y – GSP
Alignment framework | Demand | Domestic | Dem_BB001a | Number of domestic customers | Number | Y – GSP
Note on D10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Changed from Dem_BB005 to Dem_BB005_1